## Foglio1
Title | Observation | Observation_date | Processed_date
Leaking faucet | Break room sink faucet is dripping slowly. Does not cause water damage or slipping hazard but wastes water. | 2024-01-09 | 2024-01-11
Cable on walkway | A temporary network cable installed by IT support was routed across the office corridor, posing a tripping hazard. | 2024-01-16 | 2024-01-17
Overloaded shelf | Too many boxes were stacked on the dispatch shelf, creating a risk of shelf collapse. | 2024-01-23 | 2024-01-25
Replacement of burnt-out lamp | One of the warehouse corridor lamps was burnt out. Lighting was still adequate but reduced. | 2024-01-30 | 2024-02-01
Chemical spill on floor | A small amount of unidentified liquid without warning labels was found on the laboratory floor. | 2024-02-06 | 2024-02-07
Emergency exit partially blocked | A pallet of raw materials was placed in front of the emergency exit, significantly narrowing the passage. | 2024-02-13 | 2024-02-14
Worn chair upholstery | The upholstery of an office work chair is frayed. Only an aesthetic issue. | 2024-02-20 | 2024-02-22
Incomplete use of protective clothing | An employee transferred asthma-triggering material in a cleanroom without proper respiratory protection. | 2024-02-27 | 2024-02-28
Scratch on wall | A forklift hit the wall, leaving a deep scratch. Only cosmetic damage. | 2024-03-05 | 2024-03-07
Open electrical cabinet | The electrical cabinet in the maintenance room was left open, exposing live components. | 2024-03-12 | 2024-03-13
Locker door won't lock | One of the locker room cabinets would not lock properly. No safety risk. | 2024-03-19 | 2024-03-21
Heavy lifting without equipment | An employee lifted a 25 kg bag alone from floor level without lifting equipment, a clear ergonomic risk. | 2024-03-26 | 2024-03-27
Trash bin full | The paper recycling bin in the break room is full. No danger but untidy. | 2024-04-02 | 2024-04-04
Sharp edge on machine guard | A sharp edge was found on the tablet press machine guard, posing a cut risk during maintenance. | 2024-04-09 | 2024-04-10
Expired eyewash bottle inspection | The inspection date of the laboratory eyewash bottle had expired. | 2024-04-16 | 2024-04-17
Dust on top of shelf | A thick layer of dust has accumulated on the top of a high warehouse shelf. No risk of product contamination. | 2024-04-23 | 2024-04-25
Loose floor tile | A loose floor tile in the hallway created a minor trip hazard. | 2024-04-30 | 2024-05-02
Improper stacking of pallets | Pallets were stacked incorrectly in the warehouse, making the stack unstable. | 2024-05-07 | 2024-05-08
Noisy ventilation unit | The ventilation unit was making unusual loud noise, indicating possible malfunction. | 2024-05-14 | 2024-05-15
Slippery entrance mat | The entrance mat was slippery due to moisture and dirt. | 2024-05-21 | 2024-05-23
Loose handrail | A handrail on the stairs was loose, posing a fall risk. | 2024-05-28 | 2024-05-29
Incorrect chemical labeling | A chemical bottle had incorrect or incomplete labeling. | 2024-06-04 | 2024-06-05
Broken tool handle | The handle of a frequently used tool had cracked, posing a risk during use. | 2024-06-11 | 2024-06-13
Blocked forklift route | A forklift route was partially blocked by misplaced goods. | 2024-06-18 | 2024-06-19
Overfilled cardboard compactor | The cardboard compactor was overfilled and could not be used safely. | 2024-06-25 | 2024-06-27
Loose ceiling panel | A ceiling panel was loose and could fall. | 2024-07-02 | 2024-07-04
Oil spill under machine | Oil had leaked under a machine, creating a slipping hazard. | 2024-07-09 | 2024-07-10
Faulty fire extinguisher bracket | The fire extinguisher bracket was loose, preventing secure mounting. | 2024-07-16 | 2024-07-18
Missing safety data sheet | The safety data sheet for a used chemical was missing. | 2024-07-23 | 2024-07-25
Trip hazard from loose rug | A loose small rug created a trip hazard in the office. | 2024-07-30 | 2024-07-31
Damaged extension cord | An extension cord had damaged insulation, posing an electrical hazard. | 2024-08-06 | 2024-08-07
Unstable ladder | A ladder in storage was unstable due to a loose step. | 2024-08-13 | 2024-08-15
Missing protective gloves | Protective gloves were missing from the workstation where they were required. | 2024-08-20 | 2024-08-21
Leak in cooling system | A cooling system leak was found near the machinery. | 2024-08-27 | 2024-08-28
Missing direction sign | The route in the new premises had not yet been marked with signs, causing people to get lost. | 2024-09-03 | 2024-09-05
Automatic door closes too quickly | The entrance automatic door closed too quickly, creating a pinch hazard. | 2024-09-10 | 2024-09-11
Hand sanitizer empty | The hand sanitizer dispenser at the cleanroom entrance was empty. | 2024-09-17 | 2024-09-19
Broken pallet truck | A pallet truck pump did not work, making lifting difficult and unstable. | 2024-09-24 | 2024-09-25
Wall clock stopped | The break room wall clock had stopped. Only an inconvenience. | 2024-10-01 | 2024-10-03
Dangerous icicle | A large icicle above the main entrance threatened to fall onto the pathway. | 2024-10-08 | 2024-10-09
Faulty machine sensor | A safety sensor on a production machine gave false alarms and was bypassed by employees. | 2024-10-15 | 2024-10-16
Leaking compressed air hose | The compressed air hose was leaking at the connector, causing hissing and energy loss but no immediate danger. | 2024-10-22 | 2024-10-24
Dim lighting between shelves | Lighting between shelves in the warehouse was so dim that product labels were hard to read. | 2024-10-29 | 2024-10-30
Clogged floor drain | The floor drain in the cleaning area was clogged, causing water buildup and slip hazard. | 2024-11-05 | 2024-11-06
Broken door pump | The heavy fire door slammed shut because the door damper was broken, creating a pinch hazard. | 2024-11-12 | 2024-11-13
Expired batteries in device | The batteries in a rarely used measuring device were expired. No danger but device unusable. | 2024-11-19 | 2024-11-21
Unclear chemical labeling | The label on a chemical bottle was so worn that the contents could not be identified. | 2024-11-26 | 2024-11-27
Parking spot too narrow | One parking spot was painted too narrow, making it difficult to exit the car. | 2024-12-03 | 2024-12-05
Broken keyboard | The shared office keyboard did not register all key presses, an ergonomic inconvenience. | 2024-12-10 | 2024-12-12
Emergency shower test neglected | The weekly emergency shower test had not been performed as scheduled. | 2024-12-17 | 2024-12-18