## Foglio1
Title | Observation | Observation_date | Processed_date
Missing warning sign on electrical cabinet | The electrical cabinet door was missing the required warning signage. | 2025-01-15 | 2025-01-16
Water leaked from coffee machine | Water had leaked onto the lower shelf from the office coffee machine. | 2024-11-28 | 2024-11-29
Power outlet in dangerous condition near entrance | The power outlet near the entrance was hanging loose and posed a safety risk. | 2024-10-12 | 2024-10-14
Extension cord running across hallway | An extension cord had been placed across the office hallway, creating a trip hazard. | 2024-09-23 | 2024-09-24
Electrical cabinet left open in production area | An electrical distribution cabinet in the production area had been left open. | 2025-02-03 | 2025-02-03
Loose cable on floor | A loose cable was found lying unsecured on the floor. | 2024-12-17 | 2024-12-18
Damaged power cord | A power cord was damaged and required replacement. | 2024-08-09 | 2024-08-11
Blocked emergency exit route | The emergency exit pathway was partially blocked. | 2024-11-05 | 2024-11-05
Wet floor in kitchen area | The kitchen area floor was wet and posed a slipping hazard. | 2025-01-22 | 2025-01-23
Overloaded power strip | A power strip was overloaded with multiple high‑power devices. | 2024-10-30 | 2024-10-31
Loose socket cover | The cover of a wall socket was loose and unstable. | 2024-07-18 | 2024-07-19
Improper cable installation | A cable had been installed incorrectly and posed a hazard. | 2024-09-14 | 2024-09-16
Water dripping near electrical outlet | Water was dripping dangerously close to an electrical outlet. | 2025-02-11 | 2025-02-11
Extension cable under carpet | An extension cable had been placed under a carpet, creating a fire risk. | 2024-12-03 | 2024-12-04
Incorrectly stored batteries | Batteries were stored improperly and without protective casing. | 2024-08-27 | 2024-08-28
Tools placed on top of electrical panel | Tools had been placed on top of an electrical panel, creating a safety hazard. | 2024-11-19 | 2024-11-20
Frayed extension cord | An extension cord was frayed and required disposal. | 2025-01-08 | 2025-01-09
Tripping hazard caused by cable bundle | A bundle of cables on the floor created a tripping risk. | 2024-10-05 | 2024-10-06
Damaged cable insulation | Cable insulation was damaged and exposed wiring. | 2024-09-02 | 2024-09-03
Improper use of multi-plug adapter | A multi‑plug adapter was used incorrectly and unsafely. | 2024-12-29 | 2024-12-30
Fuse panel left unsecured | A fuse panel was found unsecured and accessible. | 2025-02-18 | 2025-02-18
Wet cleaning mop placed near electrical outlet | A wet cleaning mop had been placed next to an electrical outlet. | 2024-07-25 | 2024-07-26
Incorrect cable labeling | Cables were labeled incorrectly, leading to identification issues. | 2024-08-16 | 2024-08-17
Cable running too close to hot surface | A cable was installed too close to a heat source, increasing fire risk. | 2024-11-11 | 2024-11-12
Power supply unit overheating | A power supply unit was overheating during operation. | 2024-10-22 | 2024-10-23
Damaged light fixture | A light fixture was damaged and required repair. | 2025-01-29 | 2025-01-30
Loose ceiling cable | A cable hanging from the ceiling was loose. | 2024-09-28 | 2024-09-29
Overloaded extension cord | An extension cord was overloaded with connected devices. | 2024-12-22 | 2024-12-23
Open maintenance hatch exposing wiring | A maintenance hatch exposing wiring had been left open. | 2025-02-05 | 2025-02-06
Improper grounding connection | A grounding connection was incorrect and unsafe. | 2024-08-03 | 2024-08-05
Unprotected wiring hanging from ceiling | Unprotected wiring was hanging from the ceiling. | 2024-11-02 | 2024-11-03
Improperly sealed cable conduit | A cable conduit was improperly sealed. | 2024-10-18 | 2024-10-19
Loose junction box | A junction box was loose and not secured. | 2025-01-12 | 2025-01-13
Damaged LED driver | An LED driver was damaged. | 2024-09-07 | 2024-09-08
Sparking outlet reported | A sparking outlet had been reported. | 2024-12-10 | 2024-12-11
Extension cable used permanently | An extension cable was being used as a permanent power source. | 2024-07-30 | 2024-07-31
Cable connection not weather-protected | A cable connection lacked proper weatherproofing. | 2024-11-24 | 2024-11-25
Broken plug | A plug was broken and unsafe to use. | 2025-02-14 | 2025-02-14
Improper placement of electrical equipment | Electrical equipment had been placed unsafely. | 2024-10-09 | 2024-10-10
Water container placed above electrical device | A water container was placed above an electrical device. | 2024-08-21 | 2024-08-22
Poor lighting due to faulty fixtures | Lighting was poor due to malfunctioning fixtures. | 2024-12-15 | 2024-12-16
Bulb flickering abnormally | A lamp was flickering abnormally. | 2025-01-25 | 2025-01-26
Loose floor socket cover | A floor socket cover was loose. | 2024-09-19 | 2024-09-20
Water spills near extension cable | Water was spilled near an extension cable, creating a shock risk. | 2024-11-08 | 2024-11-09
Improperly stored power tools | Power tools were stored improperly. | 2024-10-26 | 2024-10-27
Overheating charger | A charger was overheating during use. | 2025-02-08 | 2025-02-09
Broken switch | A switch was broken. | 2024-12-01 | 2024-12-02
Extension cord left in walkway | An extension cord was left running through a walkway. | 2024-08-12 | 2024-08-13
Damaged surge protector | A surge protector was damaged. | 2024-11-16 | 2024-11-17
Damaged laptop charger cable | The laptop charger cable was badly damaged with internal wires exposed, posing an electric shock and fire risk. | 2025-01-19 | 2025-01-20