## Foglio1
Title | Description | Observation_date | Processed_date
Robot arm moved unexpectedly | The robot arm in Assembly Department B activated unexpectedly during maintenance. | 2024-01-05 | 2024-01-05
Strong smell of hydraulic oil | A strong smell of hydraulic oil was detected near the hydraulic unit in Assembly B. | 2024-01-14 | 2024-01-16
Compressed air condensate on the floor | Condensate from the compressed air line had leaked onto the floor in Assembly B. | 2024-01-22 | 2024-01-22
Pallets stacked dangerously high | Pallets in Department B's buffer area were stacked over three meters high, posing a risk. | 2024-01-29 | 2024-01-31
Temperature sensor shows incorrectly | The temperature sensor in Assembly B showed -5°C even though the room was warm. | 2024-02-06 | 2024-02-08
Fume hood airflow reduced | The airflow in Department B’s fume hood was significantly reduced. | 2024-02-13 | 2024-02-15
Roller conveyor jams intermittently | The roller conveyor in Assembly B stops intermittently without warning. | 2024-02-20 | 2024-02-23
Cold storage unit door frozen shut | The door of the cold storage unit in Department B had frozen shut. | 2024-02-28 | 2024-03-01
Pressure reducing valve leaking | The pressure reducing valve in Assembly B is leaking and making noise. | 2024-03-07 | 2024-03-10
Laser cutter safety glasses missing | The safety glasses for the laser workstation were missing and could not be found. | 2024-03-15 | 2024-03-16
Cart wheel stuck | One wheel of the transport cart used in Assembly B is jammed. | 2024-03-23 | 2024-03-26
Vacuum cleaner overheated | The industrial vacuum cleaner in Department B shut down due to overheating. | 2024-03-30 | 2024-04-02
Sensor system gives false alarms | The safety sensor system in Assembly B gives repeated false alarms. | 2024-04-08 | 2024-04-11
Chemical spill from small container | A small solvent container spilled in Department B, leaking onto the floor. | 2024-04-16 | 2024-04-16
Lifting rope frayed | The lifting rope in Assembly Department B was frayed in several places. | 2024-04-24 | 2024-04-27
Condensation dripping from ventilation duct | Water was dripping from the ventilation duct directly onto the workstation in Department B. | 2024-05-02 | 2024-05-05
Tool cabinet lock broken | The lock on the tool cabinet in Department B is broken. | 2024-05-10 | 2024-05-11
Safety switch not engaging | The safety switch in Department B does not engage properly. | 2024-05-18 | 2024-05-22
Loose cable on the floor | A loose cable was lying on the floor in Department B, creating a tripping hazard. | 2024-05-26 | 2024-05-28
Emergency exit blocked | The emergency exit in Department B was blocked by stored items. | 2024-06-03 | 2024-06-07
Overhead crane makes unusual noise | The overhead crane in Assembly B made unusual squeaking noises. | 2024-06-11 | 2024-06-12
Workstation light flickering | The workstation light in Department B flickers frequently. | 2024-06-19 | 2024-06-22
Loose guard on cutting machine | The protective guard on the cutting machine in Department B was loose. | 2024-06-27 | 2024-06-29
Oil leak under hydraulic press | Oil was found leaking under the hydraulic press in Department B. | 2024-07-05 | 2024-07-09
Dust accumulation on ventilation grate | A thick layer of dust had accumulated on the ventilation grate in Department B. | 2024-07-13 | 2024-07-15
Safety footwear worn out | The safety footwear used in Department B was noticeably worn out. | 2024-07-21 | 2024-07-24
Electrical panel door open | The door of the electrical panel in Department B was found open. | 2024-07-29 | 2024-07-30
First aid kit missing supplies | The first aid kit in Department B was missing several essential supplies. | 2024-08-06 | 2024-08-09
Stair handrail loose | The handrail on the stairs in Department B was loose. | 2024-08-14 | 2024-08-16
Fire extinguisher pressure low | The fire extinguisher in Department B showed low pressure. | 2024-08-22 | 2024-08-25
Air purifier filter clogged | The air purifier filter in Assembly Department B was clogged and required cleaning. | 2024-08-30 | 2024-09-02
Lifting device manual missing | The user manual for the lifting device in Department B is missing. | 2024-09-07 | 2024-09-09
Floor heating not working | The floor heating in Assembly B is not working and the floor is cold. | 2024-09-15 | 2024-09-19
Tool cart tipped over | A tool cart tipped over while being moved in Department B. | 2024-09-23 | 2024-09-24
Pressure gauge showing zero | The pressure gauge on the hydraulic pump in Assembly B displays zero. | 2024-10-01 | 2024-10-04
Protective curtain torn | The protective welding curtain in Department B is torn in several places. | 2024-10-09 | 2024-10-11
Warning tape detached | The warning tape marking a hazardous area in Assembly B had come loose. | 2024-10-17 | 2024-10-19
Compressed air hose whipping | A compressed air hose detached and began whipping around dangerously. | 2024-10-25 | 2024-10-25
Safety latch on lifting hook broken | The safety lock on the lifting hook in Assembly B no longer functions. | 2024-11-02 | 2024-11-05
Workstation suction system clogged | The suction system at the workstation in Department B is clogged. | 2024-11-10 | 2024-11-13
Drain smells bad | A foul smell is coming from the floor drain in Assembly B. | 2024-11-18 | 2024-11-20
Roller conveyor runs too fast | The roller conveyor in Assembly B runs too fast and causes parts to fall. | 2024-11-26 | 2024-11-29
Emergency stop circuit not working | The emergency stop circuit in Assembly B did not stop the machine. | 2024-12-04 | 2024-12-04
Workstation table wobbly | The workstation table in Assembly B is wobbly and unsafe. | 2024-12-12 | 2024-12-15
Compressed air dryer not working | The compressed air dryer in Assembly B is not working. | 2024-12-20 | 2024-12-23
Conveyor scale shows incorrect weight | The conveyor scale in Assembly B constantly shows 5 kg too light. | 2024-12-28 | 2024-12-31