## Foglio1
Title | Observation | Observation_date | Processed_date
Heavy lift without lifting aid | A warehouse worker lifted a 25 kg bag from the floor alone without a lifting aid, a clear ergonomic risk. | 2024-03-01 | 2024-03-04
Emergency stop button covered | A worker hurriedly moved a cart in front of the production line emergency stop button, blocking its use. | 2024-03-02 | 2024-03-04
Scratch on wall | A forklift hit the wall and caused a deep scratch on the corridor wall surface. Only cosmetic damage. | 2024-03-02 | 2024-03-05
Smoke alarm battery low | The break room smoke alarm beeped intermittently, indicating that the battery was running low. | 2024-03-03 | 2024-03-04
Chemical spill on floor | In the laboratory, a small amount of solvent was spilled on the floor in a hurry and was neither cleaned nor marked. | 2024-03-04 | 2024-03-05
Fire corridor partially blocked | A pallet truck had been left in a narrow fire corridor in a hurry, making passage difficult and preventing quick evacuation. | 2024-03-04 | 2024-03-05
Leaking compressed-air hose | A compressed-air hose was leaking at its fitting, causing hissing and energy loss. No immediate danger. | 2024-03-05 | 2024-03-06
Open electrical cabinet | The electrical cabinet door in the maintenance room had been left open, leaving live parts exposed. | 2024-03-05 | 2024-03-06
Incomplete use of protective equipment | A worker went 'just quickly' to take a sample from the powder-handling area without the required respirator. | 2024-03-06 | 2024-03-07
Locker door won't lock | One of the lockers in the changing room would not lock properly. No safety risk. | 2024-03-06 | 2024-03-07
Tools left on top of machine | At the end of a busy workday, a maintenance technician had left a wrench on top of the unit, from where it could have fallen when the machine started. | 2024-03-07 | 2024-03-08
Inadequate lighting in stairwell | Lighting in the stairwell leading to the basement areas was insufficient; one lamp was burnt out. | 2024-03-07 | 2024-03-08
Cutting through production area | A worker cut across the forklift route outside the marked walkways in the production area to save time. | 2024-03-08 | 2024-03-11
Employee running in corridor | In the production corridor, an employee was running to reach the next work step, creating a collision risk. | 2024-03-08 | 2024-03-11
Sharp edge at workstation | The metal worktop on the packing line had a sharp edge that could cause injury. | 2024-03-09 | 2024-03-11
Documentation incomplete | The batch manufacturing documentation had been filled out in haste and lacked critical signatures and values. | 2024-03-10 | 2024-03-11
Waste bin full | The paper recycling bin in the break room was full. No hazard, but untidy. | 2024-03-11 | 2024-03-12
Gas cylinders without support | Gas cylinders in the laboratory were standing freely against the wall without a chain or stand. | 2024-03-11 | 2024-03-12
Sample container left open | In a hurry, a worker left a sample container with active substance open on the bench, creating exposure and contamination risks. | 2024-03-12 | 2024-03-13
Faulty pallet truck | One pallet truck's pump mechanism did not work properly, making lifting loads difficult. | 2024-03-12 | 2024-03-13
Items left in front of emergency shower | A roll cage full of goods had been temporarily left directly in front of the emergency shower. | 2024-03-13 | 2024-03-14
Worn floor coating | The cleanroom floor coating was worn through, making cleaning difficult and causing a tripping hazard. | 2024-03-13 | 2024-03-14
Cleaning neglected due to haste | Cleaning of the weighing room was done hastily at the end of the shift, and there were visible powder residues on the surfaces. | 2024-03-14 | 2024-03-15
Damaged extension cord | The insulation of an office extension cord was cracked, exposing inner conductors. | 2024-03-14 | 2024-03-15
Eyewash bottle liquid expired | The date on the eyewash bottle at the emergency shower point had expired. | 2024-03-15 | 2024-03-18
Forklift speeding | In the warehouse area, a forklift driver was clearly driving above the permitted speed limit to stay on schedule. | 2024-03-15 | 2024-03-18
Handwashing soap empty | The soap dispenser at the handwashing point before entering the cleanroom was empty. | 2024-03-16 | 2024-03-18
False alarm acknowledged | A reactor pressure alarm was acknowledged without checking the cause because 'it always does that', in a hurry to continue the process. | 2024-03-17 | 2024-03-18
Glass shards on floor | In the laboratory, a decanter glass had been dropped and shards had spread over a large area. | 2024-03-18 | 2024-03-19
Working without gloves | A worker handled 'just one' sample without protective gloves because they were in a hurry. | 2024-03-18 | 2024-03-19
Wobbly handrail in stairs | The handrail on the metal stairs between production areas moved dangerously. | 2024-03-19 | 2024-03-20
Items left in stairs | Empty boxes had been left in haste on the top landing of the stairs leading to the warehouse. | 2024-03-19 | 2024-03-20
Noisy device | One machine on the production line was making unusually loud, shrill noise. | 2024-03-20 | 2024-03-21
Crane safety limit overridden | A worker bypassed the crane's safety limit to get the load into place faster. | 2024-03-20 | 2024-03-21
Door slams shut | The production area door slammed shut with force, creating a pinch hazard. | 2024-03-21 | 2024-03-22
Floor hatch poorly marked | A floor hatch was open due to maintenance work, but there were no proper warning markings around it. | 2024-03-21 | 2024-03-22
Cable across passageway | A charging cable had been routed across the office corridor, creating a tripping hazard. | 2024-03-22 | 2024-03-25
Fogged-up safety glasses | A worker had pushed fogged safety glasses up onto their forehead in the middle of the task because they could not see properly and were in a hurry to finish. | 2024-03-22 | 2024-03-25
Overloaded shelf | A warehouse shelf had been loaded with more goods than its rated weight limit allowed. | 2024-03-23 | 2024-03-25
Emergency exit locked | One of the emergency exits had been locked from the inside with a key. | 2024-03-24 | 2024-03-25
Objects falling from shelf | Vibration caused small items to fall from a shelf near the production line. | 2024-03-25 | 2024-03-26
Wrong batch number recorded | In haste, a worker recorded the wrong starting material batch number in the production documentation. | 2024-03-25 | 2024-03-26
Poor ergonomics in packing area | The packing line work surface was too low, forcing employees to work in a bent posture. | 2024-03-26 | 2024-03-27
Warning sign missing | No sign was used to warn about the wet floor after cleaning. | 2024-03-26 | 2024-03-27
Broken stair step | One of the concrete stair steps had a broken edge and a hole. | 2024-03-27 | 2024-03-28
Machine cleaning skipped | At shift change, intermediate cleaning of the machine was skipped due to haste, creating a cross-contamination risk. | 2024-03-27 | 2024-03-28
Icicles on roof edge | Large icicles were hanging above the main entrance, with a risk of falling. | 2024-03-28 | 2024-03-29
Employee on phone in stairs | An employee walked down the stairs while looking at their phone screen, with their attention distracted. | 2024-03-28 | 2024-03-29
Slippery outdoor stairs in rain | The factory's outdoor stairs were extremely slippery in the rain, with no anti-slip surface. | 2024-03-29 | 2024-04-01
Safety fence door left open | The safety fence door leading to the robot cell had been left open because 'we just needed to go there quickly'. | 2024-03-29 | 2024-04-01
Heavy item at edge of shelf | A heavy box had been placed dangerously close to the edge of a high warehouse shelf. | 2024-03-30 | 2024-04-01
Faulty fire extinguisher | The pressure gauge on a powder fire extinguisher was in the red zone. | 2024-03-30 | 2024-04-01
Chemical container without label | A chemical container brought for weighing had no proper label. | 2024-03-31 | 2024-04-01
Connection made in haste | An electrician made a temporary connection in a hurry and left it undocumented and unmarked. | 2024-03-31 | 2024-04-01